## Fire Pump Log
[Your Organization]
MONTHLY FIRE PUMP TESTING & INSPECTION LOG
Year: | 2026
Month | Date | Tester | Relief Valve | Discharge PSI | Suction PSI | Packing Gland | Start PSI | Jockey Pump | Ran 10 min | Power Light | Valves | Noise / Vib. | Phase Reversal | Overheat Check
January
February
March
April
May
June
July
August
September
October
November
December
P = Pass (no issues) C = Problem identified & corrected F = Fail (mgr notified) N/A = Not applicable
NOTES & FOLLOW-UP ACTIONS
Per TJC PE.04.01.01 EP 2 ¦ NFPA 25-2011 Ch. 8 ¦ NFPA 101-2012 §9.7.5 ¦ CMS K353

## Instructions
Instructions
Field | How to Use
Date | Enter the monthly fire pump test date.
Name of Tester | Enter the person who performed the test.
Pressure fields | Enter the pressure reading from the gauge (PSI).
Status fields | Use the dropdown: P, C, F, or N/A.
Notes | Document issues, corrections, or follow-up actions.