## Monthly Log
CONTROL VALVE MONTHLY INSPECTION LOG
Per NFPA 25 §13.3.2.1 and FM Global Data Sheet 2-81 · LifeSafetyWiki by Samektra
Facility Name: | [5 empty] | Facility Address:
Inspector: |  |  |  | Signature: |  |  |  | Inspection Month / Year: |  |  |  | Date:
# | Valve ID / Name | Floor | Location Description | Type | Size | Open / Closed | Locked / Unlocked | Tamper at FACP (✓ / ✗) | Sign Legible (✓ / ✗) | Tag Legible (✓ / ✗) | Initials | Notes / Corrective Action
1 | G-1 | Ground | Fire Pump Room Main Control Valve | OS&Y | 6" | Open | L | ✓ | ✓ | ✓
2 | G-2 | Ground | Fire Pump Room Pressure Relief Valve | OS&Y | 4" | Open | L | ✓ | ✓ | ✓
3 | G-3 | Ground | Fire Pump Room Jockey Pump | Butterfly | 2" | Open | L | ✓ | ✓ | ✓
4 | 1-1 | 1 | Stairwell 1 Riser Control Valve | Butterfly | 4" | Open | L | ✓ | ✓ | ✓
5 | 1-2 | 1 | Stairwell 1 Hose Cabinet Control Valve | Butterfly | 2½" | Open | L | ✓ | ✓ | ✓
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
LEGEND · Open/Closed: Open = green · Closed = red · L = Locked · U = Unlocked · Valve secured with locks or supervised per NFPA standards shall be inspected monthly
Frequency reference — NFPA 25 §13.3.2.1.1: Weekly (sealed) · Monthly (locked) · Quarterly (electronically supervised). FM Global DS 2-81: Weekly for any valve not electronically supervised. TJC PE.03.01.01 EP14 adopts NFPA 25 for healthcare.
Facility Manager: |  |  |  |  | Signature: |  |  |  | Date: