## Fire Pump 1
MONTHLY FIRE PUMP TESTING & INSPECTION
Fire Pump Room — Main Building · Per NFPA 25 §8.3.1 & TJC PE.04.01.01 EP2 · LifeSafetyWiki by Samektra
Facility: | [5 empty] | Pump Location: | Fire Pump Room — Main Building |  |  |  | Year:
Pump Make/Model: | [5 empty] | Rated GPM: |  |  | Rated PSI: |  |  | Driver Type:
Month | Date | Name of Tester | Relief Valve Operational | Discharge Pressure (PSI) | Suction Pressure (PSI) | Packing Gland (Slight Leak) | Pressure at Pump Start (PSI) | Jockey Pump Exercised | Pump Ran 10 min | Power Light Operational | Valves & Switches | Noises or Vibrations | Phase Reversal Noted | Check Sys Components for Overheating
January
February
March
April
May
June
July
August
September
October
November
December
P = Inspected w/no issues F = Problem not immediately correctable and Mgt notified C = Problem identified & corrected
NFPA 25 §8.3.1 — Weekly no-flow (churn) test required. Record discharge pressure, suction pressure, and pump start pressure each run. Pump shall run minimum 10 minutes. NFPA 20 Ch. 14 for acceptance testing. TJC PE.04.01.01 EP2.
Notes:
Facility Manager: |  |  |  |  | Signature: |  |  |  |  | Date:

## Fire Pump 2
MONTHLY FIRE PUMP TESTING & INSPECTION
Fire Pump Room — North Tower · Per NFPA 25 §8.3.1 & TJC PE.04.01.01 EP2 · LifeSafetyWiki by Samektra
Facility: | [5 empty] | Pump Location: | Fire Pump Room — North Tower |  |  |  | Year:
Pump Make/Model: | [5 empty] | Rated GPM: |  |  | Rated PSI: |  |  | Driver Type:
Month | Date | Name of Tester | Relief Valve Operational | Discharge Pressure (PSI) | Suction Pressure (PSI) | Packing Gland (Slight Leak) | Pressure at Pump Start (PSI) | Jockey Pump Exercised | Pump Ran 10 min | Power Light Operational | Valves & Switches | Noises or Vibrations | Phase Reversal Noted | Check Sys Components for Overheating
January
February
March
April
May
June
July
August
September
October
November
December
P = Inspected w/no issues F = Problem not immediately correctable and Mgt notified C = Problem identified & corrected
NFPA 25 §8.3.1 — Weekly no-flow (churn) test required. Record discharge pressure, suction pressure, and pump start pressure each run. Pump shall run minimum 10 minutes. NFPA 20 Ch. 14 for acceptance testing. TJC PE.04.01.01 EP2.
Notes:
Facility Manager: |  |  |  |  | Signature: |  |  |  |  | Date: