## Interim Life Safety Matrix
NORTHSIDE HOSPITAL INTERIM LIFE SAFETY MATRIX |  |  | 1. Ensure unobstructed exits. | 2. Alternate exits designated/ train staff. | 3. Maintain escape routes. | 4. Inspect exiting daily. | 5. Emergency services access. | 6. Ensure fire alarm, detection, suppressor systems are operational. | 7. Provide a temporary but equivalent smoke detection system to include monthly testing documentation. | 8. Ensure temporary partitions are smoke tight & noncombustible/ limited combustion. | 9. Provide fire extinguishers and training / or fire watch. | 10. Prohibit smoking. | 11. Reduce fire load. | 12. Conduct 2-fire drills/ shifts/ quarter. | 13. Increase hazard surveillance. | 14. Notify local area users and/ or compartmentalization training. | 15. Conduct organizational life safety training to promote awarenessof building deficiencies, construction hazards, & temporary measures. | 16. Notify Emergency Forces. | 17. Other
Project Name:
General Description:
Project Number:
Items listed below are present or will be present during a construction project. | Yes | No
1. Door latching problems not Immediately repairable. |  | X
2. Fire exit stairs discharge improperly. |  | X
3. Excessive travel distance to an approved exit. |  | X
4. Lack of two remote exits. |  | X
5. Blocking of an exit due to construction activities. |  | X
6. Rerouting of vehicular traffic due to construction activities. |  | X
7. Taking a detection/suppression system out of service for repair/ modification > 4 hrs. |  | X
8. Taking a detection/suppression system out of service for repair or modification < 4hrs |  | X
9. Rerouting of traffic to the Emergency Room. |  | X
10. Improperly protected vertical openings. |  | X
11. Penetrations in fire or smoke barriers. |  | X
12. Corridor walls do not extend to the structure. |  | X
13. Hazardous areas not properly protected. |  | X
14. Renovation of an occupied floor when life safety systems affected. |  | X
15. Adding an addition to an existing structure. |  | X
16 |  | X
Notes:
Northside Project Manager Full Name: N/A |  |  |  | Northside Hospital Manager SIgnature: N/A | [11 empty] | Date: N/A
Northside Life Safety Full Name: N/A |  |  |  | Northside Life Safety Signature: | [11 empty] | Date: N/A
Contractor Full Name: N/A |  |  |  | Contractor Signature: N/A | [11 empty] | Date: N/A